List of Indian Standards on Important Medical Devices with PPEs, Ventilator, Clinical Thermometer, Thermal Scanner, Wheelchair etc. for use in COVID-19 formulated by Bureau of Indian Standards (BIS)

| S.No. | Product | IS NO. (Any other standard in case Indian Standard not identified) | No. of Licencees * | Details of Testing facility available with BIS or OSL/Govt Lab |
| --- | --- | --- | --- | --- |
| 1 | Ventilators | IS/ISO 80601-2-12 : 2011 ‘Medical electrical equipment ― Part 2-12: Particular requirements for basic safety and essential performance of critical care ventilators | 0 | Information not available |
|  |  | IS/ISO 10651-3 : 1997 ‘Lung ventilators for medical use — Part 3: Particular requirements for emergency and transport ventilators | 0 | Information not available |
|  |  | IS/ISO 10651-4 : 2002 Lung ventilators — Part 4: Particular requirements for operator-powered resuscitators | 0 | Information not available |
|  |  | IS/ISO 10651-5 : 2006 ‘Lung ventilators for medical use — Particular requirements for basic safety and essential performance — Part 5: Gas-powered emergency resuscitators | 0 | Information not available |
|  |  | IS/ISO 10651-6 : 2004 ‘Lung ventilators for medical use — Particular requirements for basic safety and essential performance — Part 6: Home-care ventilatory support | 0 | Information not available |
| 2 | Alcohol based hand rub | Indian Standard/ISO Standard Not available | 0 | Central Drugs Testing Laboratories |
| 3 | Face shield (eye, nose and mouth protection) | IS 8521 (Part 1) : 1977 Specification for industrial safety face shields Part 1 with plastics visor | 1 | Information not available |
| 4 | N95 Masks | IS 9473:2002 (Respiratory protective devices - Filtering half masks to protect against particles) | 10 | Information not available |
| 5 | Latex Single Use Gloves (Clinical) | IS 15354 : PART 1 : 2018 (Single-Use Rubber Examination Gloves) | 2 | Except Water Tightness & Sterility Test at BIS own laboratory |
|  |  | IS 13422 : 1992 (Disposable Surgical Rubber Gloves) | 26 | Complete at 2 BIS own laboratories & Partial (Except Sterility Test) at 2 BIS own laboratories.1 outside laboratory recognized by BIS ( OSL) for the IS. |
| 6 | Reusable Vinyl/rubber gloves | IS 4148 : 1989 (Surgical Rubber Gloves) | 17 | Complete at 4 BIS own laboratories & 4 outside laboratories (OSL) recognized by BIS for the IS |
| 7 | Eye Protection (visor/goggles) | IS 5983 : 1980 Specification for eye - Protectors | 3 | Information not available |
| 8 | Protective gowns/aprons | IS 17334:2019 Medical Textiles — Surgical Gowns and Surgical Drapes | 0 | SITRA, Coimbatore (Partial) |
| 9 | Disposable thermometers | (No BIS Standard Available)ASTM E825 - 98(2016) Standard Specification for Phase Change-Type Disposable Fever Thermometer for Intermittent Determination of Human Temperature | 0 | Information not available |
| 10 | UV tube light for sterilization | No indian Standard available |  | Information not available |
| 11 | Medical Masks (Surgical/procedure) | IS 16289:2014 (Medical Textiles — Surgical Face Masks) | 2 | SITRA, Coimbatore as informed over email |
| 12 | Detergent/disinfectant | IS 1061:2017 (Disinfectant fluids- Phenolic Type) | 45 | Complete at 2 BIS own laboratories and partial at 2 BIS own laboratories .7 outside laboratories (OSL) recognized by BIS for the IS |
|  |  | IS 14364:1996 Quarternary ammonium compound based surface cleaner liquid - Specification | 0 | Information not available |
|  |  | IS 10758:1983 Specification for de - odourizing - cum - disinfectant fluids | 6 | Complete at 1 BIS own laboratory and 2 outside laboratories (OSL) recognized by BIS for the IS |
| 13 | Single use towels | No Indian Standard available |  | Information not available |
| 14 | Biohazard bags | No indian Standard available |  | Information not available |
| 15 | Wheel Chair | IS 7454 : 1991 (Rehabilitation equipment - Wheelchairs, folding,adult size) | 4 | Partial at 1 BIS own laboratory |
|  |  | IS 8086 : 1991 (Rehabilitation equipment - Wheelchairs, folding, junior size) | 1 | Partial at 1 BIS own laboratory |
| 16 | Glucometer with Strips | IS/ISO 15197 : 2013 In vitro Diagnostic Test Systems — Requirements for Blood-Glucose Monitoring System for Self-Testing in Managing Diabetes Mellitus | 0 | Information not available |
| 17 | Medicine | No Indian Standard available |  | Information not available |
| 18 | IV Fluids - DNS | No Indian Standard available |  | Information not available |
| 19 | IV Fluids - Dextrose | No Indian Standard available |  | Information not available |
| 20 | Hard frozen Gel Packs | No Indian Standard available |  | Information not available |
| 21 | Sample collection kit | No Indian Standard available |  | Information not available |
| 22 | Thermocool box/Ice-box | Indian Standard under formulation MHD12 (13694) Cold box |  | Information not available |
| 23 | Stretcher | IS 4035: 1967 trolleys, stretcher | 0 | Information not available |
|  |  | IS 4037 : 1967 STRETCHERS AND STRETCHER CARRIERS | 0 | Information not available |
| 24 | Infrared Thermometer | IS 80601 : Part 2 : Sec 56 : 2017 Medical electrical equipment: Part 2 particular requirements for basic safety and essential performance: Sec 56 clinical thermometers for body temperature measurement | 0 | Information not available |
| 25 | Thermal Scanners | IEC 80601-2-59:2017 Medical electrical equipment — Part 2-59: Particular requirements for the basic safety and essential performance of screening thermographs for human febrile temperature screening | 0 | Information not available |
| 26 | Batteries for thermal scanners | IS 8144 (for non- rechargeable zinc carbon batteries) | 9 | 6 outside laboratories (OSL) recognized by BIS for the IS |
|  |  | IS 16046 (for rechargeable Nickel and Lithium batteries) | 2501 | 23 outside laboratories (OSL) recognized by BIS for the IS for Year 2015 version, 30 OSLs recognized for Year 2018 part1 and 29 OSL recognized for Year 18 part 2 version Note : Productcovered under the product category ‘SEALED SECONDARY CELLS/BATTERIES CONTAININGALKALINE OR OTHER NON-ACID ELECTROLYTES FOR USE IN PORTABLE APPLICATIONS’notified by MeitY |
| 27 | BP Apparatus | IS 7652 : 1988 (Sphygmomanometer, Aneroid Type) | 3 | Complete at 1 and partial at 1 BIS own laboratory |
|  |  | IS 3390 : 1988 (Sphygmomanometers, Mercurial) | 11 | Partial at 2 BIS own laboratory |
|  |  | IS/IEC 80601 : Part 2 : Sec 30 : 2018 Medical electrical equipment: Part 2 - 30 particular requirements for basic safety and essential performance of automated non - Invasive sphygmomanometers | 0 | Information not available |
|  |  | IS 13450 ( Part 2 /Sec 34) : 2019 Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 34 Invasive blood pressure monitoring equipment | 0 | Information not available |
|  |  | IS/ISO 81060 : Part 1 : 2007 Non - Invasive sphygmomanometers: Part 1 requirements and test methods for non - Automated measurement type | 0 | Information not available |
| 28 | IV sets | IS 12655 : Part 4 : 2003,Infusion equipment for medical use: Part 4 infusion sets for single use, gravity feed (First Revision) | 0 | Information not available |
| 29 | IV Cannula | IS 6465 : 1972 Trocar, Antral, with Cannula (Tilley Lichtwitz' Pattern) | 0 | Information not available |
|  |  | IS 7981 : Part 2 : 1976 Specification For Instruments. Tuboplasty - Part II : Cannula, Shirodkar's Pattern | 0 | Information not available |
|  |  | IS 8313 : 1977 Specification for cannula, flexible, karman type | 0 | Information not available |
|  |  | IS 8825 : 1978 Specification for cannula, suction irrigation with locking device, microlaryngeal | 0 | Information not available |
|  |  | IS 9911 : 1981 Specification for cannula, brain | 0 | Information not available |
|  |  | IS 9984 : 1981 Specification for cannula, air injection, eye | 0 | Information not available |
|  |  | IS 10156 : 1982 Specification for cannula, intra - Uterine, hysterosalpingography | 0 | Information not available |
|  |  | IS 12270 : 1988 Cannula, Spackmann's Pattern | 0 | Information not available |
|  |  | IS 12271 : 1988 Specification for laproscopic trocar and cannula | 0 | Information not available |
| 30 | IV Stand | IS 5880 : 1970 SPEClFlCATlON FOR STAND, SALINE-CUM-IRRIGATOR | 0 | Information not available |
| 31 | Ambulance | AIS 125(PART2) |  | Information not available |
| 32 | First Aid | IS 13115 : 1991 Portable first -aid kit for general use - Specification | 0 | Information not available |
| 33 | Medical Waste Incinerator | No Indian Standard available |  | Information not available |
| 34 | ICU Beds | IS 9395 : 1979 (Bed, Intensive Care) | 1 | Information not available |
| 35 | Cardiac Monitors | IS 13450(Part 2/Sec 27) : 2018/IEC 60601-2-27 : 2011 Medical electrical equipment — Part 2-27: Particular requirements for the basic safety and essential performance of electrocardiographic monitoring equipment | 0 | Information not available |
| 36 | Syringe pumps | IS 13450 (Part 2/Sec 24) : 2019/IEC 60601-2-24 : 2012 Medical electrical equipment — Part 2-24: Particular requirements for the basic safety and essential performance of infusion pumps and controllers (First Revision) | 0 | Information not available |
| 37 | Portable X Ray machines | IS 7620 : PART 1 : 1986 (Diagnostic Medical X-ray Equipment - Part 1 : General and Safety Requirements) | 39 | Information not available |
| 38 | Endotracheal tube | IS 6581 : 1972 Specification for endotracheal tubes (Rubber) | 0 | Information not available |
|  |  | IS 6807 : 1972 Reinforced (Flexo-metallic) Magill's Endotracheal Tube | 0 | Information not available |
|  |  | IS 8312 : 1977 Forceps, Introducing, Endotracheal Tube, Magill's Pattern | 0 | Information not available |
| 39 | Suction tube | IS 4533 : 1995 (Suction Apparatus) | 2 | Partial at 1 BIS own laboratory |
|  |  | IS 9183 : 1979 Suction Tube, Magill's Pattern | 0 | Information not available |
| 40 | Oxygen cylinders | IS 7285 ( Part 1) : 2018 Refillable seamless steel gas cylinders - Specification Part 1 normalized steel cylinders | 4 | Partial at 1 BIS own laboratory |
|  |  | 7285(Pt 2):2017 Refillable seamless steel gas cylinders – Part 2 Quenched and tempered steel cylinders with tensile Strength less than 1100 MPa (112 kgf/mm2) | 7 | Partial at 2 BIS own laboratory |
|  |  | IS 15660 : 2017 Refillable transportable seamless aluminium alloy gas cylinders - Specification | 2 | Information not available |